## Sheet1
Papers Evaluated:
| Paper title | Main Problem | Problems They Identified | How they solved it simply | Solving process | Clarifications | Research gaps, future directions, for our project | How they did the calculation
Sending new optimal reactive-power commands frequently is impractical, especially because PV output can change rapidly. Pecan Street dataset — June 16, 2014 IEEE 34-node distribution test system | "Centralized PV Coordination Control Strategy for Unbalanced LV Distribution Networks Based on Sensitivity Coefficient Weights" | how to coordinate multiple PV inverters in an unbalanced LV network so that voltage violations are eliminated while minimizing unnecessary PV active-power curtailment. | Reverse power flow caused by high PV generation. Overvoltage/voltage violations, especially during periods of high PV generation and low residential demand. Three-phase imbalance because PV systems and loads are distributed across different phases. Limited PV hosting capacity because network voltage constraints prevent additional PV generation from being accommodated Inefficient traditional local droop control because each inverter responds mainly to its own local voltage and lacks global coordination/optimization. Consequently, more PV power than necessary is curtailed to keep voltages within acceptable limits. | Detect overvoltage → calculate sensitivity of each PV inverter → use Q first → if Q is insufficient, use minimum necessary P curtailment → continuously recalculate power flow and sensitivity → stop when voltage is within the limit. | Collect network and PV data Smart meters collect load and PV output data. The centralized controller receives this information through the communication network. Data is collected every 15 minutes. Calculate the unbalanced power flow They model the LV network as a three-phase, four-wire system. They use the Newton–Raphson (N-R) method to calculate the network power flow. Detect voltage violations The controller checks the voltages of all three phases at all nodes. If the maximum voltage is within the limit, no coordinated control is required. If a voltage violation occurs, the controller identifies the affected node and phase. Calculate sensitivity coefficients They calculate the inverse Jacobian matrix. From this, they obtain sensitivity coefficients indicating how changing the active power (P) or reactive power (Q) of each PV inverter affects the voltage at the constrained node. These coefficients are converted into weights for each PV inverter. First adjust reactive power (Q) The controller prioritizes reactive-power adjustment. Each PV inverter's reactive power is increased according to its sensitivity weight. They use an iterative process: The paper specifies a preferred reactive-power step of 0.5 kVar. After each adjustment, the power flow is recalculated. Check whether the voltage problem is solved If the voltage is brought within the limit, the controller sends the updated Q targets to the PV inverters. If the voltage violation remains and the PV inverters have not reached their reactive-power limits, the process continues iteratively. If reactive power is insufficient, curtail active power (P) When all PV inverters reach their reactive-power capacity but overvoltage remains, the controller starts active-power reduction. Again, the sensitivity coefficients determine how much each PV inverter should contribute. ​ The preferred active-power step is 0.2 kW. Iteratively recalculate until voltage is acceptable After every active-power adjustment, the power flow is recalculated and the sensitivity coefficients are updated. Active power is curtailed only until the voltage violation is resolved. | Where is the centralized controller situated? The paper does not explicitly state the physical location of the centralized controller. It shows a central coordination controller/microcontroller connected to the PV nodes through a communication network, but it does not specify whether it is located at the transformer, substation, control center, edge device, etc. What is the communication network, and how does the controller receive information from smart meters? The paper says the PV nodes communicate bidirectionally with the coordination controller using 4G/5G, power line carrier, or Zigbee wireless networks. It also states that household AMIs/smart meters collect load information and transmit it to the coordination controller. However, the paper does not specify which one of 4G/5G, PLC, or Zigbee was actually used in the simulation/implementation, nor does it specify the communication protocol or detailed data-transfer mechanism. Where did they model the LV network? Did they use a simulation tool? The paper presents a 37-node three-phase, four-wire LV distribution network model and performs simulations, but the provided paper does not name a specific simulation software/tool such as OpenDSS, pandapower, MATLAB/Simulink, etc. Where did they get the data for the LV network model? The paper states that the line parameters were set according to the IEEE European Low Voltage Test Feeder standard. It specifically gives the main-line cable parameters as R=1.15Ω/km and X=0.088Ω/km. It also says the residential load curve was based on measured data from a rural suburb in China. The paper provides the PV capacities and locations for the 17 PV-connected nodes in Table 1. It does not state that the entire model was obtained from one external dataset. Does “nodes” mean each smart meter? No. In this paper, a node is a node of the electrical LV distribution network. There are 37 nodes in the network. Some of these nodes have PV inverters, specifically 17 nodes. Smart meters/AMI devices are measurement devices associated with the network nodes; they are not synonymous with the electrical nodes. Is assigning different weights to PV inverters a fair curtailment strategy? The paper does not describe it as “fair curtailment” and does not evaluate fairness between PV owners. The weights are based on voltage sensitivity coefficients. The purpose is to identify PV inverters that are more effective at correcting the particular voltage violation and thereby minimize unnecessary PV curtailment. Therefore, based strictly on this paper, it is more accurate to call it sensitivity-based/minimum-curtailment coordination, not a fairness-based curtailment method. Did they use static algorithms or ML? No ML approach is described. The proposed method is based on: three-phase four-wire Newton–Raphson power flow; inverse Jacobian matrix calculation; sensitivity coefficients; iterative P/Q adjustment. So, based on the paper, it is a model-based mathematical/iterative control algorithm, not a machine-learning approach. How often does the centralized controller run? Is it only when high voltage is detected? The paper says that every 15 minutes, smart devices collect load and PV output data. The controller then recalculates the power flow and updates the inverse Jacobian/sensitivity coefficients. However, the coordinated control action is activated when a voltage violation occurs. Under normal operating conditions, PV inverters operate in MPPT mode. So the distinction is: Every 15 min → collect data and update the network calculation. Voltage violation detected → activate the coordinated P/Q control process. Does the controller get input only from smart inverters, or also from other nodes such as the transformer? Not only from PV inverters. The paper states that household AMIs/smart meters collect load information from nodes throughout the network, while PV-related information includes PV active/reactive power. The controller also uses network topology information. The paper's Step 1 explicitly says it uses power information and network topology data to solve the three-phase four-wire power flow. The paper does not clearly describe a separate real-time measurement input from the transformer. Node 1 is modeled as the balanced node/secondary side of the distribution transformer, and OLTC is shown, but the paper does not say that the controller receives transformer sensor measurements as an input. How does the controller communicate with the PV inverters? The paper says the communication is bidirectional. The controller: receives PV inverter state information such as active and reactive power; and sends control target instructions to the PV inverters. The communication technologies mentioned are 4G/5G, power line carrier, and Zigbee wireless networks. The paper does not specify a particular application-layer protocol such as MQTT. | Research gaps / limitations identified by the paper Dependence on communication infrastructure The proposed centralized method requires communication to collect network and PV information and issue control commands. The paper identifies limited communication and potential cost increases as shortcomings. Need for network structural and load information The controller requires information about the distribution-network structure and load conditions to calculate the power flow and sensitivity coefficients. PV inverter interoperability The paper states that issuing control instructions requires compatibility with different PV inverter brands and their communication protocols. This is an implementation challenge. Limited validation scope The method was validated on a 37-node LV distribution test system. Although the authors state that it can be extended to larger networks, the paper does not demonstrate this experimentally. Centralized-control dependence Centralized control is not necessarily appropriate for every situation. The authors explicitly suggest that in areas with low PV penetration, the proposed method could be combined with distributed control methods that do not rely on communication. OLTC and other voltage-regulation devices are not jointly coordinated The proposed method focuses on coordinated PV inverter reactive and active power control. Joint coordination with OLTC and reactive-power compensation devices is left for future work. | The main calculation is: Collect PV power and load information from the network. Run a three-phase, four-wire unbalanced power flow using the Newton–Raphson method. Calculate the inverse Jacobian matrix. Extract sensitivity coefficients from that matrix. Use those coefficients as weights for each PV inverter. Increase reactive power Q of the PV inverters according to those weights. Recalculate the power flow. If voltage is still above the limit and reactive power has reached its capacity, reduce active power P (PV curtailment), again according to the sensitivity weights. Repeat until the voltage is within the specified limit.
| A Techno-Economic Comparison of Traditional Upgrades, Volt-Var Controls, and Coordinated Distributed Energy Resource Management Systems for Integration of Distributed Photovoltaic Resources — Kelsey A. W. Horowitz, Akshay Jain, Fei Ding, Barry Mather, Bryan Palmintier | Increasing deployment of distributed PV can exceed the hosting capacity of distribution feeders, causing operating violations. The authors wanted to determine how different mitigation strategies can increase PV hosting capacity and what technical/ economic trade-offs each strategy creates. They specifically compared traditional infrastructure upgrades, autonomous Volt-Var controls, and coordinated DERMS for feeders dominated by residential and small-commercial PV systems. | 1. Overvoltage / undervoltage: High distributed PV generation can push feeder voltages outside acceptable limits. 2. Thermal overload: PV power flows can cause lines/transformers to exceed thermal limits. 3. Reverse power flow: High PV generation can exceed local demand and send power back toward the substation. 4. Increased distribution losses: Different PV/control strategies can change feeder losses. 5. Increased grid-device operations: PV penetration can affect capacitor-bank switching and other equipment operation. 6. PV curtailment: Advanced controls may need to reduce real PV output to maintain voltage/thermal limits. 7. PV tripping: Severe voltage conditions can cause PV systems to disconnect. 8. Location dependence: PV located far from the substation can have much more severe impacts than PV close to the substation. 9. High-PV limitation of autonomous controls: Volt-Var can solve many voltage issues but cannot necessarily solve all violations at high penetration, especially thermal problems. 10. Economic uncertainty: Traditional upgrades, inverter controls, and DERMS have very different capital/operating/curtailment costs. 11. Lack of coordinated DERMS techno-economic analysis: Previous work had not sufficiently compared coordinated DERMS with traditional upgrades and autonomous inverter controls for many small residential/commercial PV systems. 12. Uncertainty as PV penetration grows: A strategy that is economical at one penetration level may become less effective/economical at another. | They tested three alternatives. 1. Traditional upgrades: Physically modify the distribution network—reconductoring, voltage regulators, capacitor banks, equipment relocation, control-setting changes, etc. 2. Autonomous Volt-Var: Let every PV inverter autonomously adjust reactive power according to voltage using the IEEE 1547-2018 Category A Volt-Var curve. 3. DERMS: Use a feeder-level controller to coordinate all participating PV systems and determine their P and Q setpoints through optimization. The DERMS tries to eliminate voltage and thermal violations while heavily prioritizing solutions that avoid reducing real PV power. If necessary, it curtails real power. | Step 1 — Obtain real feeder models: They used two real Southern California distribution feeders, anonymized as Feeder A and Feeder B because the actual feeder names/locations were sensitive. Step 2 — Model in OpenDSS: They performed distribution power-flow simulations in OpenDSS. The actual secondary-network data was unavailable, so they used idealized 125-ft star secondary models. Step 3 — Generate PV deployments: They considered residential/small-commercial PV systems ranging approximately 1–200 kW. They created three spatial deployment patterns: FAR, CLOSE, and RANDOM. 10 samples were generated for each, giving 30 PV deployment cases. Step 4 — Increase PV penetration: PV deployment was progressively increased to study how the feeder behaves as PV penetration grows. Step 5 — Snapshot hosting-capacity analysis: They first tested several bounding operating conditions: maximum PV/minimum daytime load; maximum PV/maximum daytime load; no PV/minimum daytime load; no PV/maximum daytime load. Step 6 — Identify hosting-capacity violations: They determined when voltage/thermal limits were exceeded. Step 7 — Apply mitigation strategies: Depending on the scenario, they applied traditional upgrades, Volt-Var, or DERMS. Step 8 — One-year QSTS: They then performed one virtual year of quasi-static time-series simulations at 1-minute resolution. This is computational simulation—it does not mean they physically waited one year. A year at 1-minute resolution is about 525,600 simulated time points. Step 9 — Measure impacts: They calculated annual energy losses, reverse power flow, capacitor switching operations, voltage violations, thermal violations, reactive power at the substation, and PV curtailment. Step 10 — Economic analysis: They translated technical impacts and infrastructure requirements into costs and compared the three strategies. | Hosting capacity is not treated as a permanent fixed number. The authors explain that hosting capacity depends on PV location, load/generation profiles, feeder configuration, equipment, and inverter/grid controls. Reaching hosting capacity means that some intervention is required, not necessarily that no more PV can ever be installed. Static hosting capacity uses a limited set of bounding conditions, whereas time-series/dynamic analysis considers conditions throughout the year. Curtailment ≠ clipping: Curtailment is reduction of PV output because of a grid condition; clipping occurs because the PV DC array exceeds the inverter AC capability. Curtailment ≠ tripping: Tripping disconnects the PV system; curtailment merely reduces output. They specifically exclude normal clipping from grid-integration cost. Volt-Var can cause curtailment: If reactive-power requirements consume the inverter's apparent-power capacity, real power may have to be reduced. This could be avoided by oversizing inverter kVA. DERMS operates only when a violation occurs. Their DERMS optimization has a maximum of 30 iterations per simulation for determining P/Q setpoints. They assume all PV systems participate in the DERMS scenario. They assume inverter response latency is less than the 1-minute simulation resolution, so response latency was not included in the curtailment calculation. They note that practical response times are generally on the order of seconds. PV inverter operation at night is not modeled for Volt-Var/DERMS; nighttime voltage-regulation capability is mentioned as future work. Protection coordination is not explicitly modeled. Reverse flow is recorded, but protection-upgrade costs are outside the study. | The biggest gap relevant to our project is that they optimize overall feeder integration, not fairness among individual prosumers. Their DERMS determines P/Q setpoints to avoid violations, but the paper does not focus on a fairness mechanism for distributing active-power curtailment among households. They also use a centralized feeder-level DERMS architecture, whereas our project is investigating an edge-based approach. They do not specifically address a 50-household Sri Lankan/Ceylon Electricity Board LV network. Their feeders are real Southern California feeders, with different characteristics and higher-level distribution context. They do not focus on phase-level fairness in an unbalanced LV network. Our project can investigate how curtailment should be distributed among households connected to different phases/locations. They do not make edge-device hosting-capacity estimation their main research problem. Our project can investigate using an edge intelligence node/Raspberry Pi to estimate hosting capacity from real-time measurements and simulation data. Their DERMS is an optimization-based coordinated controller; therefore, simply claiming "optimization-based PV curtailment" as novelty would be weak. Our novelty needs to be in the fairness-aware, localized, edge-based curtailment mechanism, HIL integration, adaptive operation, or another clearly defined contribution. They explicitly identify several future/extension areas: sensitivity to the assumption that all inverters have advanced controls; coordinated approaches that do not rely on optimization; nighttime inverter voltage regulation; better understanding of DERMS costs/O&M; protection impacts; ancillary-service value; and how results evolve at higher penetration levels. For our project: this paper provides strong evidence for the PV-hosting-capacity/voltage-violation problem, the use of OpenDSS/QSTS, and the need for active-power curtailment, but leaves room for a fair, edge-based active-power curtailment framework for an LV residential network. | They used several layers of calculation. 1. Power-flow calculation: OpenDSS calculates feeder voltages, currents, active/reactive power flows, losses, etc., at each simulation time step. 2. Static hosting capacity: They progressively increased PV deployment and used bounding operating conditions to find where voltage/thermal violations appear. 3. QSTS: They ran a virtual one-year simulation at 1-minute resolution, updating load/PV conditions and solving the feeder repeatedly. 4. Energy losses: They accumulated feeder losses over the year to obtain annual energy losses in kWh. 5. Reverse power flow: They recorded occurrences of power flowing back through the substation. 6. Device operations: They counted capacitor-bank switching operations over the simulated year. 7. Voltage/thermal violations: At each time point they checked whether operating conditions exceeded the relevant limits. 8. Curtailment: They compared a baseline simulation with PF = 1 against the same PV deployment under advanced controls. The difference in real PV output was accumulated over the simulation period. Because their timestep is one minute, the power difference is converted into energy using the time-step conversion to kWh. 9. DERMS optimization: When violations occur, the DERMS searches for P/Q setpoints for participating PV systems. It prioritizes avoiding reductions in P, subject to voltage/thermal and inverter constraints, with up to 30 iterations. 10. Economic calculation: Traditional-upgrade costs came from the NREL Distribution Grid Integration Unit Cost Database and previous upgrade analysis. DERMS costs came from vendor/interview estimates. Energy-loss costs were calculated by multiplying simulated annual losses by the 2019 average wholesale electricity price for the SP-15 Southern California electricity hub, sourced from EIA. 11. Curtailment economic impact: Curtailment was also translated into illustrative economic costs under different ownership/compensation assumptions. 12. They compared all three strategies in terms of hosting-capacity expansion, upfront capital cost, operating/economic impacts, PV curtailment, losses, and grid violations.
| A Supervisory Volt/VAR Control Scheme for Coordinating Voltage Regulators with Smart Inverters on a Distribution System — Valliappan Muthukaruppan, Yue Shi, Mesut E. Baran, 2022 | The paper addresses the problem of voltage regulation in distribution systems with increasing PV/DER penetration, where traditional Volt/VAR devices such as LTCs and VRs are no longer sufficient by themselves. Smart inverters can provide reactive-power support, but they need to be coordinated with the existing voltage-control devices. At the same time, frequent centralized dispatch of smart inverters is difficult because distribution networks may have limited communication infrastructure/bandwidth. Therefore, the exact problem is: how to coordinate LTCs, VRs, and smart inverters so that feeder voltages remain within acceptable limits, power losses are minimized, mechanical tap operations are reduced, and communication requirements remain practical. | 1. Traditional devices become inadequate with high PV. PV intermittency can produce over-voltage, while high load can produce under-voltage. LTC/VR devices alone may not handle these conditions effectively. 2. Fixed local Volt/Var control is not globally optimal. Each smart inverter responds to its local voltage using a fixed Volt/Var curve, without considering the state/location of other inverters and voltage-control devices. This can result in poor coordination and unnecessary reactive-power usage. 3. Lack of coordination can increase losses. Multiple inverters can inject reactive power unnecessarily or inappropriately, increasing feeder losses. 4. Excessive LTC/VR operation. If legacy devices handle PV intermittency themselves, their mechanical taps can operate frequently, causing wear and tear. 5. Centralized OPF/VVO is computationally difficult. The VVC version of OPF is NP-hard, and discrete LTC/VR tap variables make exhaustive optimization computationally expensive. 6. Frequent direct inverter dispatch creates communication problems. Sending new optimal VAR commands frequently to many inverters may not be practical over radio-mesh/cellular distribution communication infrastructure. 7. Fixed Volt/Var curves cannot adapt to changing system conditions. The appropriate inverter Volt/Var characteristics depend on the current network operating condition. | They proposed a centralized supervisory VVO scheme with two stages. Stage 1: first use smart inverters to correct voltage violations. Only if the inverters reach their reactive-power limits or voltage violations remain are the LTC/VR devices operated. Stage 2: once a feasible voltage operating point is obtained, optimize the smart inverters' reactive-power injections to minimize total feeder power loss while maintaining voltage limits. Their major additional idea is Volt/Var curve shifting. Instead of repeatedly sending direct VAR commands to the smart inverters, the controller shifts the existing Volt/Var curves so that the inverter's local controller naturally operates near the centrally calculated optimal operating point. This reduces communication requirements while retaining local fast response. | 1. Obtain measurement data from the distribution system. The paper assumes the utility has a sufficiently capable distribution SCADA system. 2. Check voltage violations. The desired range is 0.95–1.05 p.u. 3. Stage-1 inverter control: calculate reactive-power settings for smart inverters to flatten voltage toward the reference, generally 1.0 p.u. 4. Check inverter limits. If inverters can correct the voltage, avoid unnecessary LTC/VR operation. 5. If violations remain, search for suitable LTC/VR tap positions. Instead of checking every possible tap combination, they restrict the search to nearby tap changes and use voltage-violation direction to reduce the search space. 6. Select the feasible tap configuration with the flattest voltage profile. 7. Stage 2: optimize smart-inverter reactive power for minimum total network power loss while keeping voltage and inverter limits satisfied. 8. Calculate optimal (Vg,Qg) for each inverter. 9. Determine Vl, the voltage corresponding to that optimal Q on the inverter's old Volt/Var curve. 10. Shift the curve by Vg − Vl. 11. Dispatch the shifted Volt/Var curves instead of continuously sending direct VAR commands. 12. The inverter then uses its local voltage measurement and the new curve to respond during the interval. The case study repeats this supervisory control at 5-minute intervals. | The paper is solving a distribution voltage-control/VVO problem, not a general solar forecasting problem, battery problem, communication-network routing problem, or hosting-capacity estimation problem. The smart inverter is being used mainly as a reactive-power/voltage-control resource. The paper does not dynamically change the real-power output of PV as its main control mechanism. LTC = Load Tap Changer, a transformer tap-changing device. VR = Voltage Regulator, a tap-controlled voltage-regulation device installed along the feeder. VVC = Volt/VAR Control, controlling reactive power to regulate voltage. VVO = Volt/VAR Optimization, optimization of voltage and reactive-power control. The paper assumes a central controller and a good distribution SCADA system capable of collecting field measurements. The communication limitation concerns frequent dispatch of control commands, not the absence of communication altogether. They do not propose an SDN, MQTT, edge-computing, Raspberry Pi, Docker, ML, or cloud architecture. The paper does not state that it used OpenDSS, pandapower, MATLAB/Simulink, DIgSILENT, or another named commercial simulation package. Therefore, we should not attribute one of these tools to the authors without additional evidence. | There are several potential gaps when comparing this paper with our project direction. 1. Centralized architecture: Their VVO controller is centralized. This creates potential dependence on SCADA communication and a central optimization process. Our project can investigate whether some intelligence can be moved closer to the feeder/edge. 2. No hosting-capacity estimation: Their work controls voltage after considering the current operating condition; it does not specifically estimate how much additional PV the network can accommodate. This leaves room for PV hosting-capacity estimation. 3. No ML-based hosting-capacity prediction: They use optimization and power-flow calculations rather than ML to estimate hosting capacity. Our project can investigate Random Forest/XGBoost-based estimation using simulation-generated training data. 4. No HIL implementation: The paper presents simulation results rather than a hardware-in-the-loop implementation with physical smart-meter/ESP32 devices. This creates an opportunity for HIL validation. 5. No edge-device deployment: Their paper does not demonstrate deployment of the optimization/intelligence on a Raspberry Pi or similar edge platform. 6. Limited communication is considered, but not an edge networking architecture: They reduce communication by shifting Volt/Var curves, but they do not investigate an adaptive MQTT/edge communication architecture. 7. No explicit fairness-based curtailment: Their objective is voltage regulation and loss minimization. They do not address fair allocation of PV curtailment among prosumers, which is directly relevant to our project. 8. Their objective is different from our objective: Their smart inverter control uses reactive power (VAR), whereas our project focuses on fair active-power curtailment when PV causes network constraints. 9. Test-system limitation: They evaluate a modified IEEE 34-node feeder. A future project could investigate a larger, more realistic multi-phase LV network based on local distribution characteristics. 10. No Sri Lankan/CEB-specific model: Their feeder is based on rural Arizona, whereas our project can investigate a network modeled around Sri Lankan/CEB distribution characteristics. 11. No explicit real-world PV/customer measurement dataset: Their case study uses simulated load/PV profiles. Our project could combine a digital-twin simulation with external/real measurement data and HIL measurements. 12. Communication/control latency: Their optimization converges within approximately 1 second in their tested cases, but the paper does not experimentally validate end-to-end communication/control latency in a real field network.** These differences mean this paper can be used as an important related-work reference for coordinated voltage control, but it does not itself solve our project's fair active-power curtailment + hosting-capacity + edge/HIL problem. | The electrical network is represented by the modified IEEE 34-node distribution feeder. They use a three-phase backward-forward distribution power-flow solver because the feeder is unbalanced. The power-flow equations use the network's Y-bus parameters (Gij, Bij) and calculate voltage magnitude/angle and active/reactive power relationships. Stage 1 inverter optimization: minimize voltage deviation from the reference voltage: Σ wi(vi − vref)², subject to power-flow equations, voltage limits, and inverter reactive-power limits. wi = 0 when voltage is already within 0.95–1.05 p.u.; otherwise wi = 1. They solve this using gradient descent. VR/LTC calculation: because tap positions are discrete, they do not perform a full exhaustive search. A device can have 33 possible taps, and combinations can become extremely large. They restrict the search to approximately ΔTap = {0, ±1, ±2, ±3} and use rules based on the location and direction of voltage violations. For over-voltage, downstream devices are searched primarily for downward tap changes; for under-voltage, upward tap changes are searched. For every candidate tap configuration, the three-phase power-flow solver calculates the resulting voltages. Feasible configurations are ranked using voltage variance Σ(Vi − Vref)², and the configuration producing the flattest voltage profile is selected. Stage 2: minimize total feeder power loss through optimal smart-inverter reactive-power injection, subject to the same power-flow, voltage, and inverter limits. This is also solved using gradient descent. Volt/Var curve shifting: after obtaining optimal Qg and corresponding Vg, they find Vl from the old Volt/Var curve, then shift the curve by Vg − Vl. This theoretically makes (Vg,Qg) the equilibrium point of the shifted curve. Simulation: they use a 24-hour load/PV profile and evaluate the algorithm at 5-minute dispatch intervals. Four conditions are tested: high-load summer, light-load winter, cloudy PV, and sunny PV. They compare three cases: Case 1: LTC/VR only; Case 2: LTC/VR + smart inverters with fixed local Volt/Var curves; Case 3: proposed coordinated VVO + Volt/Var curve shifting. Metrics include under-voltage violations (NUV), over-voltage violations (NOV), energy loss (kWh), LTC operations (NLTC), VR operations (NVR), total legacy operations (Ntotal), maximum voltage (Vmax), and minimum voltage (Vmin).
| Bi-Level Volt/VAR Optimization in Distribution Networks With Smart PV Inverters — Yao Long and Daniel S. Kirschen, IEEE Transactions on Power Systems, Vol. 37, No. 5, September 2022. DOI: 10.1109/TPWRS.2022.3142105. | The paper addresses the problem of coordinating conventional utility-owned voltage-regulation devices with autonomous smart residential PV inverters in distribution networks with high rooftop-PV penetration. Traditional Volt/VAR Control (VVC) relies mainly on OLTCs (On-Load Tap Changers) and capacitor banks (CBs). These mechanical devices are relatively slow and involve discrete switching/tap operations. At the same time, smart PV inverters can react much faster by changing their reactive-power output. The fundamental problem is therefore: How can the utility centrally optimize the slow mechanical devices while simultaneously accounting for the fact that smart PV inverters independently optimize their own reactive-power behavior? The authors argue that conventional single-level VVC formulations are no longer adequate because they often treat PV reactive power as a directly controllable central decision variable. In reality, autonomous PV inverter groups may independently change their reactive-power output according to local voltage measurements, neighboring communication, inverter limits, and their own objectives. Therefore, the central controller cannot simply assume that the PV inverter will produce exactly the reactive-power value it requested. | 1. High rooftop-PV penetration causes rapid voltage fluctuations. Conventional OLTCs and capacitor banks were not designed to respond to very fast PV-induced voltage variations. 2. Mechanical devices are slow and discrete. OLTCs have discrete tap positions and capacitor banks have discrete switching states. Excessive switching also causes mechanical wear. 3. Smart PV inverters have much faster response capability. They can continuously adjust reactive power and therefore can respond to instantaneous voltage violations. 4. Existing centralized approaches do not fully exploit smart-inverter autonomy. Many existing methods centrally calculate inverter setpoints and assume the inverter follows them. 5. Local autonomous control can deviate from the central controller's assumptions. If a PV inverter group independently optimizes its reactive-power contribution, its actual Q may differ substantially from the value assumed by the upper-level controller. 6. Existing multi-level approaches may not adequately coordinate inverter groups with mechanical devices. A smart inverter may respond locally while the OLTC/CB controller makes decisions based on a different system-level objective. 7. Fast voltage violations can occur between central dispatch periods. The central controller may operate hourly or periodically, but PV/load fluctuations can happen much faster. 8. Forecast errors are unavoidable. Centralized feedforward optimization depends on load/PV forecasts, and forecast errors can produce suboptimal decisions. 9. Autonomous inverter groups may have objectives different from the utility. For example, the utility may want to minimize network active-power losses, while PV owners may want to minimize reactive-power costs or distribute reactive-power usage fairly. 10. A coordination mechanism is therefore required between two different decision-making levels. The utility controls OLTC/CB while PV inverters autonomously optimize Q. | They proposed a bi-level Volt/VAR optimization framework. Think of it as two controllers operating at different speeds. Upper level = utility/ADMS: determines the slower OLTC tap positions and capacitor-bank switching states to minimize network active-power losses. Lower level = smart PV inverter group: autonomously determines the reactive-power outputs of the PV inverters while maintaining acceptable voltage and respecting inverter reactive-power limits. The two levels are coupled: OLTC/CB settings affect network voltage, which affects the PV inverters; PV reactive-power output affects network power losses and voltage, which affects the upper-level optimization. They mathematically represent this interaction as a bi-level optimization problem. They then use the Karush-Kuhn-Tucker (KKT) conditions to replace the lower-level optimization with mathematical constraints. This converts the bi-level problem into a solvable single-level Mixed-Integer Second-Order Cone Programming (MISOCP) problem for the ADMS. Meanwhile, the real-time PV-inverter side uses distributed optimization based on local voltage measurements and neighboring communication. Thus, they combine slow centralized feedforward optimization + fast distributed feedback optimization. | Step 1 – Model the distribution grid. They use the IEEE 33-bus radial distribution network and IEEE 123-bus distribution test feeder. The network contains buses, branches, loads, PV systems, OLTCs and capacitor banks. Step 2 – Obtain PV/load profiles. They use 1-minute-resolution PV-generation and load-consumption data based on the Pecan Street Dataport dataset from June 16, 2014. Step 3 – Construct forecasts. The ADMS uses hourly forecast values. PV forecast errors are randomly varied by ±20%, while load forecast errors are ±10%. Step 4 – Upper-level optimization. For every dispatch period, the ADMS determines OLTC tap positions and capacitor-bank states. The objective is to minimize total network active-power losses. Step 5 – Account for PV autonomy. Instead of treating PV reactive power as an ordinary upper-level decision variable, the lower-level PV optimization is embedded inside the upper-level problem. Step 6 – Formulate lower-level PV optimization. The PV inverter group determines qg​, the vector of inverter reactive-power outputs, while satisfying voltage and inverter reactive-power limits. Different lower-level objectives are possible: minimize reactive-power cost, minimize network active-power losses, equalize inverter utilization, or use a weighted combination. Step 7 – Apply KKT conditions. Because the lower-level problem is convex under their formulation, its optimality conditions can be represented using KKT conditions. This includes stationarity, primal feasibility, dual feasibility and complementary slackness. Step 8 – Convert complementary constraints. The complementary-slackness products are bilinear, so they use binary variables and the Big-M method to convert them into a mixed-integer formulation. Step 9 – Obtain MISOCP. The resulting upper-level problem is a Mixed-Integer Second-Order Cone Programming problem. Step 10 – Solve centrally. The ADMS solves the MISOCP using optimization software. Step 11 – Dispatch mechanical devices. The resulting OLTC and CB setpoints are sent to their local controllers through SCADA/communication links. These settings remain until the next dispatch period. Step 12 – Fast PV control. Between upper-level dispatches, PV inverters repeatedly measure their local voltage, calculate control signals, change reactive power, and communicate with neighboring inverters. Step 13 – Convergence. The distributed PV algorithm iteratively drives inverter reactive-power outputs toward the lower-level optimum. In their simulation, PV inverters adjust every 0.5 seconds, whereas the mechanical devices receive hourly setpoints. | ADMS means Advanced Distribution Management System. It is the utility-side central control/optimization system. It has access to network information, forecasts and control objectives. OLTC means On-Load Tap Changer. It regulates voltage by changing the transformer's turns ratio/tap position. CB means Capacitor Bank. It injects reactive power into the distribution network. VVC means Volt/VAR Control. It controls voltage and reactive power to maintain acceptable voltage and reduce losses. Smart PV inverter: an inverter with sensing, computation and communication capability that can control its reactive-power output. Important: the paper does not mean that the ADMS directly forces every inverter to use a specific Q value. The PV inverter group is autonomous at the lower level. The paper's actual evaluation is simulation-based. They did not build physical PV inverters, ESP32 devices, Raspberry Pis, HIL hardware, or a physical OLTC/CB system. The grid is a modeled/test grid, specifically IEEE 33-bus and IEEE 123-bus systems. It is not a CEB feeder or another real utility feeder. Pecan Street provides the time-series load/PV data, not the network topology. The electrical network comes from the IEEE test systems. Software: MATLAB 2018a, MATPOWER, CVX and Gurobi. MATPOWER performs nonlinear AC power-flow simulation; CVX is used for optimization modeling; Gurobi solves the optimization problem. Communication technologies: Wi-Fi, ZigBee and PLC are discussed as possible smart-inverter communication methods. They did not construct a real Wi-Fi/ZigBee/PLC communication network in the reported simulations. IEEE 1547, IEEE 1815, IEEE 2030.5 and IEC 61850 are discussed in relation to inverter operation/interoperability, but these should not be interpreted as physical technologies they implemented in their simulation. | 1. No edge-computing implementation. Their ADMS optimization is simulated centrally. A potential extension is to move some intelligence to an edge device such as a Raspberry Pi. 2. No HIL implementation. Their PV inverters are mathematical models. A project could connect real ESP32/embedded smart-meter nodes to a digital-twin simulation through HIL. 3. No physical IoT sensing layer. Their simulation receives time-series data rather than real-time household sensor measurements. An extension could use real voltage/current measurements from household nodes. 4. No ML-based hosting-capacity estimation. Their optimization assumes a modeled network and known/forecast network conditions. A new system could use Random Forest/XGBoost or another lightweight model to estimate PV hosting capacity at the edge. 5. No real utility-specific feeder. They use IEEE 33/123-bus benchmark networks. A future system could model an actual Sri Lankan/CEB-style LV distribution feeder using realistic transformer, line impedance, household location and phase information. 6. No explicit fairness-oriented PV curtailment. Their main upper-level objective is active-power-loss minimization. This creates an opportunity to investigate fair active-power curtailment among prosumers, especially where voltage violations are geographically uneven. 7. No explicit phase-unbalance/fairness mechanism in the main formulation. A three-phase LV system with unequal rooftop-PV penetration can create phase-specific voltage problems. This could be incorporated into a new edge controller. 8. Their approach assumes an optimization model is available. A real deployment may have incomplete or inaccurate network parameters. An edge intelligence approach could estimate hosting capacity from measurements rather than requiring a perfect network model. 9. Communication is abstracted. Although they discuss Wi-Fi/ZigBee/PLC and neighboring communication, they do not implement realistic packet loss, latency, retransmissions, network congestion or cybersecurity in the main simulation. This leaves room for a cyber-physical/network-aware extension. 10. No lightweight cybersecurity implementation. The paper does not investigate secure communication mechanisms such as lightweight authenticated encryption between embedded nodes and the edge controller. 11. No explicit communication-network performance evaluation. A future system could investigate whether latency, packet loss and asynchronous measurements affect decentralized voltage control. 12. No real-time embedded computational constraint. Gurobi solves the central optimization on a laptop. A research extension could investigate whether a lightweight approximation/model can run on Raspberry Pi-class hardware. 13. Centralized ADMS dependency remains. Their upper level requires network-wide information and forecasts. Edge intelligence could reduce the dependence on continuous centralized optimization. 14. Their optimization objective is primarily electrical/system-level. A new project could combine voltage constraints, hosting capacity, fairness, curtailment cost, phase balance and communication constraints into one cyber-physical decision framework. | Their calculation starts with a distribution power-flow model. For each branch i→j, they use the DistFlow formulation. The active-power flow is represented approximately as Pij​=∑Pjk​+rij​lij​+Pload,j​−PPV,j​. Reactive-power flow is represented similarly: Qij​=∑Qjk​+xij​lij​+Qload,j​−QPV,j​−QCB,j​. The voltage relationship is modeled using vj​=vi​−2(rij​Pij​+xij​Qij​)+(rij2​+xij2​)lij​, where vi​ represents squared voltage magnitude and lij​ squared branch current magnitude. The original branch equation lij​vi​=Pij2​+Qij2​ is non-convex, so they replace it with a second-order-cone relaxation. For the OLTC, the tap ratio is represented using discrete binary variables so that only one tap position is selected. They impose tap-change limits between dispatch periods. For capacitor banks, the number of connected capacitor units is an integer variable and is also restricted so that only a limited number of units can be switched between periods. The upper-level objective is minimization of total network active-power losses, expressed as F=∑(i,j)∈E​rij​lij​. The lower level uses the vector qg​, containing the reactive-power output of all PV inverters. Each inverter must satisfy qi​≤qgi​≤qˉ​i​, where the reactive-power limits depend on the inverter's apparent-power capacity and current active-power generation. Voltage must satisfy v​≤vi​≤vˉ. The lower-level objective can be reactive-power cost f(qg​)=∑(ai​qgi2​+bi​qgi​+ci​), network-loss minimization f(qg​)=qgT​Xgg​qg​, or an inverter-utilization equalization objective. Because the lower-level optimization is convex, they impose its KKT conditions. These include the stationarity equation, voltage constraints, reactive-power constraints, dual-variable non-negativity and complementary-slackness conditions. Complementary slackness creates products such as λi​(v​−vi​)=0. They use a Big-M transformation with binary variables to linearize/represent these conditions. After replacing the lower-level optimization by its KKT conditions, the overall problem becomes a single-level MISOCP. Gurobi then searches for the optimal combination of discrete OLTC/CB decisions and continuous electrical variables while respecting all network constraints and the lower-level PV optimality conditions.